## Sheet1
WKU Educational Buildings Fire Log 2022 | Total Fire Alarms in Building for calendar year 2022 | Fire Alarm Number | Date of Fire Alarm | Time of Fire Alarm | Cause of Fire Alarm | Number of Injuries that required treatment at a Medical Facility | Number of Deaths related to Fire* | Value of Property damage caused by Fire | Incident Number
Academic Complex
Ag. Expo Center | 1 | 1 | 2022-05-26 | 2:01 | BGFD could not fire cause of alarm panel was normal | 0 | 0 | 0 | 20222143
Augustine Alumni Ctr.
Baseball Clubhouse
CEBS
CEC
Chapel
Charles Taylor Center
Cherry Hall | 1 | 1 | 2022-06-01 | 9:37 | contractors sand floors | 0 | 0 | 0 | 20222231
College High Hall
Craig Alumni
Cravens Grad. Center |  | 1 | 2022-04-04 | 14:49 | fire alarm was cause by dust cleaning |  |  |  | 20221399
DFM | 1 | 1 | 2022-10-07 | 13:29 | dirty smoke det. Replaced SD. | 0 | 0 | 0 | 20224290
Diddle Arena
Downing Student Union | 2 | 1 | 2022-02-19 | 7:57 | strong odor of N-gas pulled PS evac buiding | 0 | 0 | 0 | 20220750
|  | 1 | 2022-04-21 | 10:07 | truck exhaust from loading dock set a smoke det off. | 0 | 0 | 0 | 20221628
Environmental Science and Technology
Faculty House | 2 | 1 | April 04, | 19:01 | child pulled pull station |  |  |  | 20221400
|  | 1 | 2022-11-18 | 19:14 | steam leak in mech room. | 0 | 0 | 0 | 20224941
Felt House
Florence Schneider Hall (Gatton Academy) | 1 | 1 | 2022-07-10 | 12:13 | watere leak shorted a pull station causing alaarm | 0 | 0 | 0 | 20222869
Gary Ransdell Hall
Glasgow Campus
Gordon Wilson
Grise Hall
HAZ MAT
Health Services
Heat Plant
Commons/Helm Library | 2 | 1 | 2022-04-04 | 14:19 | contractor using shop vac activated a smoke det. | 0 | 0 | 0 | 20221399
|  | 1 | 2022-04-11 | 14:04 | smoke from grill activated smoke det. | 0 | 0 | 0 | 20221473
Honors Building
Industrial Education
Ivan Wilson FA
Jones Jaggers
Kentucky Building
Learning Center
LT Smith East
LT Smith West
Mass Media
Music Recital Hall
Old Mall/ ICSET | 3 | 1 | 2022-10-13 | 15:12 | heathco employee cleaning lab caused SD to activate. | 0 | 0 | 0 | 20224378
|  | 1 | 2022-10-14 | 0:12 | faulty node in FA system. | 0 | 0 | 0 | 20224384
|  | 1 | 2022-10-14 | 18:53 | SD fault in system | 0 | 0 | 0 | 20224404
Parking Structure 1
Parking Structure 2
Parking Structure 3
Potter Hall
President House
Preston Center
Publication Building
SC/Carrol Knicely | 1 | 1 | 2022-03-13 | 13:58 | indiviual avtivated a pull station. | 0 |  | 0 | 20221081
Service Supply
Snell Hall
Thompson Center
VanMeter Hall
Wetherby Adm. Building
WKU Police | 1 | 1 | 2022-03-04 | 10:33 | ESA dusting caused smoke det to activate. | 0 | 0 | 0 | 20220946
Miscellaneous
lost river cave | 1 | 1 | 2022-03-18 | 11:30 | construction worker | 0 | 0 | 0 | 20221158
Total alarms | 17